## Cover Page
NAIVASHA WATER & SANITATION COMPANY
NAIVASHA PROJECT
IHINDU-KINUNGI WATER SUPPLY PROJECT
January 2024
Bills of Quantities sheet

## Grand Summary
NAIVASHA WATER & SANITATION COMPANY
Bill No | Description |  | Total Ksh.
1 | Preliminary and General Items |  | 500000
2 | Pipe Laying works
3 | Borehole works |  | 262938
BILL TOTAL |  |  | 762938
Contingencies |  | 5% | 38146.9
Bills Total inclusive of Contingencies |  |  | 801084.9
Value Added Tax (VAT) |  | 16% | 128173.584
TOTAL CARRIED TO FORM OF BID |  |  | 929258.484
SIGNATURE OF BIDDER: ……………………..…………………………………………..
NAME OF AUTHORIZED REPRESENTATIVE: ………………………………...…………
COMPANY STAMP: …………………………………...………………………..
DATE: ………………………………………….……..

## Bill 1. P & G
BILL 1 - PRELIMINARY AND GENERAL ITEMS
ITEM | DESCRIPTION | UNIT | QTY | RATE (KShs) | AMOUNT (KShs)
CLASS A: GENERAL ITEMS
Sign Boards
A1001 | Allow for Provision, erection and maintainance of Project Sign Boards at sites to be indicated by the Engineer within the Project Area and removal upon completion of the Contract. Details of the Sign Board are shown on Drawing. | Nr | 2
Provisional sums
A1002 | Allow for provision of Insurance against Accident to Workmen in accordance with the Conditions of Contract | Sum | 1
A1003 | Allow a Provisional Sum of KShs. 200,000 for re-location of services by Telekom, KPLC and/or any other institution and for statutory costs for road/railway crossings. Liaison with these Authorities will be the responsibility of the Contractor for the timely execution of the Works | Sum | 1 | 200000 | 200000
A1004 | Allow for provision of a performance bond according to the provision of the contract | Sum | 1
A1005 | Allow for provision of Insurance of Works and Contractor's Equipment in accordance with the General Conditions of Contract | Item | L.S
A1007 | Allow for provision of Third Party Insurance (including Employer's Property) all in accordance with the General Conditions of Contract. | Item | L.S
A1008 | Allow a Provisional sum of Ksh.300,000 for Environmental and Social Impact Assement for the Project. Rate to include all requisite levies for acquiring this project NEMA License | Item | L.S | 300000 | 300000
| PAGE TOTAL CARRIED TO TO BILL 1 COLLECTION |  |  |  | 500000
BILL 1 - PRELIMINARY AND GENERAL ITEMS
ITEM | DESCRIPTION | UNIT | QTY | RATE (KShs) | AMOUNT (KShs)
BILL 1 Collection Page
| Total Page 1 |  |  |  | 500000
| BILL 1 COLLECTION CARRIED TO GRAND SUMMARY |  |  |  | 500000

## Bill 2. Pipe Laying works
BILL 2 - PIPE LAYING WORKS.
ITEM NO. | DESCRIPTION | UNIT | QTY | RATE (KShs) | AMOUNT (KShs)
CLASS A: GENERAL ITEMS
All prices shall be quoted inclusive of VAT where applicable
Specified Requirements
Testing of works
A2001 | Allow for hydrostatic pressure testing as specified for all the pipelines constructed under the contract to the satisfaction of the Engineer. | m | 31900
A2002 | Disinfection of Pipelines: flushing with clear water, filling with water containing 0.05g/l calcium hyperchlorite, left for 24 hours. This includes supply of necessary equipment, materials, chemicals and water, measurement of residual chlorine, all as specified and safe disposal of disinfecting water to Engineer's approval. | m | 31900
General Clearance
A2003 | Allow for keeping trenches and other excavation free of water which may have entered through ground seepage, rain or by other means as directed by the Engineer. | LS | 1 |  |  | 0
A2004 | General clearance along the pipeline path, width n.e 1.5m | ha | 4.785
Cutting of Trees
A2005 | Girth 0.5m - 1.0m | Nr | 5
A2006 | Girth 1.0m - 2.0m | Nr | 2
PAGE TOTAL CARRIED TO COLECTION PAGE
ITEM NO. | DESCRIPTION | UNIT | QTY | RATE (KShs) | AMOUNT (KShs)
CLASS B: PIPEWORK -
EXCAVATION & BACKFILLING
Transport from Site Store, Lay and Joint Pipes in Trench, Include for Excavation, Preparation of Surfaces, Disposal of Excavated Material, Shoring Sides of Excavation trenches, Backfilling and final Reinstatement.
B2001 | DN 32- 75mm in trenches depth 1.5m - 2.0m. | m | 30305
B2003 | Ditto but depth 2.5 - 3.0m | m | 1595
LAYING OF PIPES
Rate shall be deamed to include handling, transport, laying, and joining the following HDPE pipe and all its fittings as shown in the drawings. All HDPE pipes with diameters from 50mm upwards shall be joined using butt welding. Rate includes pipe protection and sleevework installation as shall be guided by the project supervisor.
B2004 | DN 75mm PN 16 | m | 3500
B2005 | DN 63mm PN 16 | m | 6400
B2006 | DN 40mm PN 12.5 | m | 9100
B2007 | DN 32mm PN 16 | m | 12900
PAGE TOTAL CARRIED TO COLECTION PAGE
ITEM NO. | DESCRIPTION | UNIT | QTY | RATE (KShs) | AMOUNT (KShs)
CLASS C: PIPEWORK - FITTINGS AND VALVES
Rate to Include supply, complete with all installation sundries such as gaskets, bolts, nuts and washers for all flanged items,
1. VALVES
C 2001 | 1.25'' Peglar gate Valve | Nr | 6
C 2002 | Ditto but 1'' Peglar gate Valve | Nr | 26
2. ELBOWS
C 2003 | 75mm HDPE PN16 butt fussed 90 degree Elbow.PN 16 | Nr | 2
C 2004 | Ditto but 45 degree | Nr | 2
C 2005 | 63mm HDPE PN16 butt fussed 90 degree Elbow.PN 16 | Nr | 3
C 2006 | Ditto but 45 degree | Nr | 1
C 2007 | 40mm HDPE PN16 compressed 90 degree Elbow.PN 16 | Nr | 4
C 2008 | 32mm HDPE PN16 compressed 90 degree Elbow.PN 16 | Nr | 2
C 2009 | Ditto but 45 degree | Nr | 1
3. TEES
C 2010 | 40mm HDPE PN16 Compressed Tee PN 16 | Nr | 2
C 2011 | 32mm HDPE PN16 Compressed Tee PN 16 | Nr | 10
4. SADDLE CLAMPS
C 2012 | 75mm x 1.25'' Saddle Clamp, PN 16 | Nr. | 2
C 2013 | Ditto but 63mmx 1'' | Nr. | 4
C 2014 | Ditto but 63mmx 1.25'' | Nr. | 5
C 2015 | Ditto but 50mmx 1.25'' | Nr. | 2
C 2016 | Ditto but 40mmx 1'' | Nr. | 17
C 2017 | Heavy duty gasket | Sq.m | 20
5. HEX NIPPLES
C 2019 | 1.25'' hexagonal nipple | Nr. | 10
C 2020 | Ditto but 1'' | Nr. | 23
6. ADAPTORS
C 2021 | 40mm HDPE PN16 Compressed male adaptor PN 16 | Nr | 13
C 2022 | Ditto but 32mm | Nr | 42
PAGE TOTAL CARRIED TO COLECTION PAGE
ITEM NO. | DESCRIPTION | UNIT | QTY | RATE (KShs) | AMOUNT (KShs)
7. REDUCERS
C 2023 | 75mm x 63mm HDPE butt fused reducer PN 16 | Nr. | 1
C 2024 | 63mm x 50mm HDPE reducing coupling PN 16 | Nr. | 1
C 2024 | 40mm x 32mm HDPE reducing coupling PN 16 | Nr. | 1
8. HDPE BUTT FUSSED STUB COMPLETE WITH FLANGE
C 2025 | 75mm HDPE butt fussed stub complete with flange, bolts and nuts. PN 16 | Nr | 1
C 2026 | Ditto but 63mm | Nr | 2
9. AIR VALVES
C 2027 | 75mm x 1.5" HDPE Saddle clamp, PN 16 | Nr | 2
C 2028 | Ditto but for 63mm x 1.5'' | Nr | 2
C 2029 | 1.5'' G.I Hex Nipple, PN 16 | Nr | 4
C 2030 | 1.5'' Peglar gate valves, PN 16 | Nr | 4
C 2031 | 1.5'' A.R.I - D040-01 PN16 Combination Nylon Air Valve | Nr | 4
10. COUPLERS
C 2032 | 40mm HDPE coupling | Nr | 125.3333
C 2033 | 32mm HDPE coupling | Nr | 176
11. NON-RETURN VALVES
C 2034 | 2" GI non-return valve | Nr | 1
C 2035 | 1" GI non-return valve | Nr. | 1
C 2036 | Ditto but 1.25" non-return valve | Nr. | 2
C 2037 | 40mm HDPE PN16 Compressed male adaptor PN 16 | Nr | 2
C 2038 | Ditto but 32mm | Nr | 4
C 2039 | Ditto but 63mm | Nr | 2
12. Tank offtake Fittings
C 2040 | 3" by 2.5" G.I reducing bush Class B | Nr | 1
C 2041 | Ditto but 3" by 2" | Nr | 1
C 2042 | 21/2" G.I pipe class B | Nr | 1
C 2043 | Ditto but 2" | Nr | 1
C 2044 | 2.5" Steel weldon flange Class B | Nr | 3
C 2045 | Ditto but 2" | Nr | 5
C 2046 | 2.5" GI 90 degrees elbow Class B | Nr | 2
C 2047 | Ditto but 2" | Nr | 2
C 2048 | 75mm HDPE stub and flange PN16 complete with bolts and nuts | Nr | 1
C 2049 | Ditto but 63mm | Nr | 1
C 2050 | 21/2'' Flanged Cold Water Meter, Woltmann Type, R 160, PN 16. | Nr | 1
C 2051 | Ditto but 2" | Nr | 2
C 2052 | 2" Peglar Gate Valve PN 16 | Nr | 2
C 2053 | 2" GI Hex Nipple | Nr | 4
C 2054 | 2" GI Tee | Nr | 1
C 2055 | 2" x 63mm HDPE Male Adaptor PN 16 | Nr | 2
13. END COUPLERS
C 2056 | 50mm HDPE End Caps PN 16 | Nr | 1
C 2057 | Ditto but 40mm | Nr | 6
C 2058 | Ditto but 32mm | Nr | 3
14. WASH OUT
C 2059 | 63mm HDPE compressed Tee PN 16 | Nr | 1
C 2060 | 63mm HDPE PN16 Compressed male adaptor PN 16 | Nr | 6
C 2061 | 2'' Peglar gate Valve | Nr | 3
CLASS D: CUSTOMER CONNECTIONS
D2001 | DIEHL 15mm Customer Meters, R200 | Nr | 205
D2002 | 50mm x 3/4" HDPE Saddle clamp, PN 16 | Nr | 30
D2003 | 40mm x 3/4" HDPE Saddle clamp, PN 16 | Nr | 50
D2004 | 32mm x 3/4" HDPE Saddle clamp, PN 16 | Nr | 125
D2005 | 3/4" PPR Male Elbow | Nr | 205
D2006 | 3/4" PPR Female Elbow | Nr | 205
D2007 | 3/4'' Peglar Gate Valves, PN 16 | Nr | 205
D2008 | 3/4" PPR Male Adaptor | Nr | 205
D2009 | 3/4" GI Nipple, PN 16 | Nr | 205
D2010 | 1/2'' Peglar gate valves, PN 16 | Nr | 205
D2011 | 25mm x 0.5" PPR Male Adaptor, PN 16 | Nr | 205
D2012 | 0.5" GI Elbow, PN 16 | Nr | 410
D2013 | 0.5" GI Stand Pipe, 1m, PN 16 | Nr | 205
D2014 | 0.5" Peglar water Tap, PN 16 | Nr | 205
D2015 | Thread seal | Nr | 205
D2016 | 25mm PPR Elbows | Nr | 410
D2017 | 1/2" GI Nipple | Nr | 205
D2018 | 1/2" GI Socket | Nr | 205
D2019 | 3/4 PPR Socket | Nr | 410
D2020 | 25mm PPR pipe class A 1/10 Bar | m | 3000
PAGE TOTAL CARRIED TO COLECTION PAGE
ITEM NO. | DESCRIPTION | UNIT | QTY | RATE (KShs) | AMOUNT (KShs)
CLASS E: Chambers and Pipe Markers
Chambers, ducts, culverts, crossings, thrust, anchor blocks, reinstatement and others pipework ancillaries
Valve Chambers- Internal Dimensions to fit as detailed on Drawing
Note:- Items for Work in this class shall include:- i. Excavation, preparation of surfaces, disposal of surplus excavated material, shoring sides of excavation, backfilling and removal of redundant services. ii. Concrete, Reinforcement, Formwork, Joints and Finishes. iii. Include for supply and fixing of removable precast concrete cover slab, mild steel frame, lifting / opening mechanism, step irons, compacted granular fill, rendering of exposed blockwork etc;. iv.Tips for disposal of excavated material or debris to be identified by the Contractor in liaison with the Local Authorities.
E2001 | Air valve Chamber (1.5m x 1.2m) Depth n.e 1.5 m | nr | 4
E2002 | Valve Chambers (0.7m by 0.7m) | nr | 25
E2003 | Wash Out Chamber (1.5m x 1.2m) Depth n.e 1.5m | nr | 1
Marker Posts
Supply material to fabricate and install pipe and pipe appurtenances markers as shown in the drawing.475mm below ground level 750mm above ground level reinforced in concrete class 20/25 with T10 bars and as shall be directed by the project supervisor
E2004 | Pipeline Marker post | nr | 16
PAGE TOTAL CARRIED TO COLECTION PAGE
BILL 2 - PIPE LAYING WORKS.
ITEM NO. | DESCRIPTION | UNIT | QTY | RATE (KShs) | AMOUNT (KShs)
BILL 2 Collection Page
Total Page 1
Total Page 2
Total Page 3
Total Page 4
Total Page 5
PAGE TOTAL CARRIED TO SUMMARY PAGE

## Bill 3. Borehole work
BILL 3 - Borehole Works
ITEM NO. | DESCRIPTION | UNIT | QTY | RATE (KShs) | AMOUNT (KShs)
CLASS A: permits
Specified Requirements
Permit and Levys
A3001 | Rate to provide for obtaining a Water resource Authority (WRA) Ground water abstraction permit. | nr | 2 | 65000 | 130000
RENOVATION OF BOREHOLES
A3002 | Rate to provide for flushing of borehole. Depth of borehole 250m | m | 500
A3003 | Rate to provide for fishing of collapsed borehole pumps. Depth of borehole 250m. | nr | 2
A3004 | Rate to provide for test pumping and camera inspection of boreholes to determine; safe yield, positioning of pump and depths of perforated casings. Depth of borehole 250m | LS | 2
EQUIPING TWO BOREHOLES
A3005 | Supply, transport to site, install, test and commision submersible pumps complete with motor, cable, water flow pressure gauge and fittings, control panel with power surge and pump dry run protection, for the following characteristics: Flow 4.5 m3/hr at a total head of 240 m. All vital componenents including impellers, intermediate chambers and shafts should be made from AISI 304 Stainless steel and the top and bottom housing from cast iron. The mechanical seal made from tundsten carbide. Motor size, 4kw, high efficieny "blue flux" totally enclosed fan cooled 2-pole motor complying with IEC and DIN standards. | nr | 2
A3006 | Supply, transport to site, and replacement of boreholes pipes 50mm HDPE PN 16 | m | 492
A3007 | Borehole chambers (1.5m by 2m) | nr | 3
Rate to Include supply, transportation and installation complete with all installation sundries such as gaskets, bolts, nuts and washers for all flanged items,
A3008 | 0.5" sampling taps | nr | 3
A3009 | 0.5" GI weldon nipple | nr | 3
A3010 | 0.5" GI socket | nr | 3
A3011 | 50mm HDPE Male Adaptor | nr | 2
A3012 | 1.5" GI Socket | nr | 2
A3013 | 1.25" GI Pipe Class B | nr | 1
A3014 | 1.25" GI Elbow | nr | 2
KPLC
A3015 | Allow a provisional sum of Ksh.112,938 to allow for settling of Kenya Power and Lighting Company(KPLC) outstanding bills to facilitate operation of boreholes. Account No: 38293080 | LS | 1 | 112938 | 112938
A3016 | Allow a provisional sum of 20,000 for Payment to facilitate KPLC publishing a public notice on shutting down powerlines to carry out borehole works | LS | 1 | 20000 | 20000
| PAGE TOTAL CARRIED TO COLECTION PAGE |  |  |  | 262938